## Slide 1: Biosensor – pH 3 Green
HP1
175.9
192.2
179.3
179.3
146.6
160.7
150.1
147.9
Reference
Biosensor
HP1
HP2
HP2
Before
After
Difference
14.1
2.2
*HSV with S & V at 90% as it is calibrated with HUE values instead of RGB
 | R | G | B |  | Hue
Calibration Green |  |  |  |  | 179.341869
LYJ |  |  |  |  | 
Reference Green | 57.43919513 | 127.4965627 | 122.733755 |  | 175.9209364
Sample | 135.734362 | 245.9764387 | 184.6857798 |  | 146.6421421
 |  |  |  | Hue Translation | 150.0630747
ZJ |  |  |  |  | 
Reference Green | 89.66079658 | 137.1790652 | 149.2792956 |  | 192.1776602
Sample | 127.9478538 | 244.8106894 | 207.2522171 |  | 160.7166382
 |  |  |  | Hue Translation | 147.880847
Notes: HP1 - LYJ
HP2 - ZJ

## Slide 2: Biosensor – pH 3 Green
HP1
175.9
192.2
179.3
179.3
146.6
160.7
Reference
Biosensor
HP2
HP2
Before
After
Difference
14.1
2.2
HP1
150.1
147.9
*S&V inherits pre-calibration value as it is calibrated with HUE values instead of RGB
Notes: HP1 - LYJ
HP2 - ZJ

## Slide 3: Biosensor – pH 4 Yellow
HP1
61.0
54.8
48.9
48.9
61.8
50.4
49.7
44.5
Reference
Biosensor
HP2
HP2
Before
After
Difference
11.4
5.2
*HSV with S & V at 90% as it is calibrated with HUE values instead of RGB
 | R | G | B |  | Hue
Calibration Yellow |  |  |  |  | 48.86005499
LYJ |  |  |  |  | 
Reference Yellow | 246.658183 | 249.2747147 | 91.77848859 |  | 60.99679785
Sample | 243.0621321 | 245.9470242 | 149.2184434 |  | 61.78947653
 |  |  |  | Hue Translation | 49.65273367
ZJ |  |  |  |  | 
Reference Yellow | 222.4861162 | 209.0827377 | 69.00742302 |  | 54.76016706
Sample | 245.7813859 | 219.760537 | 83.59082046 |  | 50.37397192
 |  |  |  | Hue Translation | 44.47385986
HP1

## Slide 4
HP1
61.0
54.8
48.9
48.9
61.8
50.4
49.7
44.5
Reference
Biosensor
HP2
HP2
Before
After
Difference
11.4
5.2
Biosensor – pH 4 Yellow
HP1
*S&V inherits pre-calibration value as it is calibrated with HUE values instead of RGB

## Slide 5: Biosensor – pH 5.5 Red
HP1
358.5
0.14
353.6
353.6
13.9
17.0
9.0
10.5
Reference
Biosensor
HP2
HP2
Before
After
Difference
3.1
1.5
 | R | G | B |  | Hue
Calibration Red |  |  |  |  | 353.6040169
LYJ |  |  |  |  | 
Reference Red | 229.8377209 | 111.959827 | 114.8153736 |  | 358.5465231
Sample | 227.0660793 | 199.5770925 | 191.2665198 |  | 13.92850551
 |  |  |  | Hue Translation | 8.985999284
ZJ |  |  |  |  | 
Reference Red | 202.5582418 | 84.01155563 | 83.7375 |  | 0.138387774
Sample | 237.078125 | 154.6463415 | 122.0735518 |  | 16.99382315
 |  |  |  | Hue Translation | 10.45945224
*HSV with S & V at 90% as it is calibrated with HUE values instead of RGB
HP1

## Slide 6: Biosensor – pH 5.5 Red
HP1
358.5
0.14
353.6
353.6
Reference
Biosensor
HP2
HP2
Before
After
Difference
3.1
1.5
HP1
*S&V inherits pre-calibration value as it is calibrated with HUE values instead of RGB
13.9
17.0
9.0
10.5